Specifications

| Nominal Voltage |  | 12 V |
| --- | --- | --- |
| Capacity(10HR, 25℃) |  | 12Ah |
| Dimension | Length | 152±2mm (5.98inch) |
|  | Width | 88±2mm (3.46inch) |
|  | Height | 130±2mm (5.12inch) |
| Approx. Weight |  | 3.7kg (8.16lbs)±5% |
| Operating temperature range |  | -20℃～50℃(-4℉～122℉) |
| Standard Charging method (25℃) | Current | 1.2A |
|  | Time | 5~10h |
| Quickly Charging method (25℃) | Current | 6A |
|  | Time | 1h |
| Terminal material |  | Lead |
| Container Material |  | ABS |

Discharge Characteristics(25℃)

Self-discharge characteristics

Dimensions

Terminal